# Multi-Dongle ANT+ Heart Rate Monitor Receiver Application Deployment Guide

# Overview

This guide outlines the steps to deploy and run a Python-based application designed to collect data from up to 32 ANT+ heart rate monitor devices using 4 ANT USB dongles. The script collects heart rate data and streams it to external applications via MQTT or API calls.

# Hardware and System Requirement

- 4x ANT USB Sticks of the same model (either USB2 or USB-m)

- Up to 32 ANT+ heart rate monitor devices

- A Windows PC

- Python environment (maybe auto-packaged in executable)

- Internet/network access (if using MQTT/API output)

# Deployment Guide

## Use the Same Type of ANT USB Stick

There are two types of ANT USB sticks:

⚠️ Important: Do not mix different types of USB sticks. Using mixed types causes driver incompatibility, and the application may fail to initialize properly.

✅ The script has been tested and verified with multiple ANTUSB2 sticks.

❗ There is no guarantee that the script will work correctly with multiple ANTUSB-m sticks, due to potential driver and compatibility issues.

💡 The USB drivers tested and compatible with this script are libusb0 and libusb1. You may use tools like Zadig to assign the correct driver to each ANT USB device.

To check your USB device type:

- Open Device Manager

- Expand “Universal Serial Bus devices”

- Look for ANT+ USB device and confirm the type

## Check the Python Environment

The script requires a specific Python environment, with the following components:

- Python 3.8.17

- libusb1 3.3.1

- openant 1.3.3

- pyusb 1.2.1

⚠️ Note: The openant library has been modified to support multiple ANT+ dongle connections. Therefore, you must use the provided environment under the myenv folder to run the script. Run.bat will use the python.exe in the myenv to run the script, or you can manually run gui_script.py under the src folder with the provided myenv.

## Launch the Application

Upon launch, a GUI application will appear:

Input the ANT+ ID on your heart rate monitor into the Device X field, and press “Start Monitoring” to see the heart rate data.

If everything is running successfully, you will see the following:

❗ IMPORTANT: Press “Stop Monitoring” before you quit. If not, the usb will not be released for other applications to access.

# Known Issue:

## By 06/05/2025:

- How the data will be passed to other applications is not decided yet. Currently the way is to use a MQTT broker. Kindly disable the MQTT configuration in heart_rate_mqtt_broker.py to test ANT+ devices connection.

- 2 ANT sticks are tested. The UI will be changed to 32 devices when 4 ANT sticks are tested.

- Troubleshoot: 1. Unplug the usb sticks 2. Plug it back 3. Rerun the script.